## Slide 1: Idiopathic Pulmonary Fibrosis Classification using Optimized CNN
Alex Baboshin 310926415
Asaf Shnaider 316468636
Supervisor: Prof. Miri Weiss Cohen
(24-2-R-9)
Capstone Project Phase B

## Slide 2
“Idiopathic Pulmonary Fibrosis”
Progressive and irreversible lung disease
Thickening and scarring of lung tissues
Gradual decline in lung function
Symptoms: Shortness of breath, persistent dry cough and fatigue
01
Problem Background

## Slide 3: Motivation
Our Solution
Positive cases has average life expectancy around 4 years. Early detection is critical, but diagnosing can be time consuming and relies heavily on radiologists.
The Problem
Automated detection model which can help speed up diagnosis, reduce the burden on radiologists and improve patient outcomes.
02

## Slide 4
High Accuracy
Scalability
The primary requirement for our system is high accuracy, meaning the ability to correctly classify both IPF-positive and IPF-negative CT scans.
Capable of handling ever-growing datasets, as each patient's IPF CT images are unique and may vary significantly in size, quality, and distribution.
transfer learning – fine tuning will be implemented.
Capable of handling noisy data and variations in CT scan quality, which can result from differences in scanner types, patient positioning, and image anomalies.
Robustness to noisy data
Capable of real-time evaluation, enabling the system to replace manual CT scan analysis and significantly reduce the time required for accurate IPF diagnosis.
Fast processing speeds
03
Main System Requirements

## Slide 5: Overview of Our Proposed Solution
Use custom CNN architecture for automated detection
Hyperparameter tuning for optimal performance
Data augmentation for preventing overfitting and improving generalization
04

## Slide 6: Key Technologies & Software Tools
Python
TensorFlow, Keras
OpenCV, PIL
Google Colab
Programming Language
Deep Learning Frameworks
Data Processing
NumPy, Pandas
Image Processing
Operating System
05

## Slide 7
06
4,391 CT images 512x512
2,122 IPF Positive
2,269 IPF Negative
Data Collection & Preprocessing
Dataset:
Data Augmentation:
Flips
Brightness
contrast
Data Split:

## Slide 8: Custom CNN Architecture
Dense Layer
Fully connected layer for final decision making
Conv2D Layers:
Extracts feauters from the input
Dropout Layer:
Reduces overfitting by deactivating random neurons during training
Softmax Output Layer
Converts the final output to a probability distribution for binary classification
Flatten Layer:
Converts 2D features maps into one dimensional vectors
07
MaxPooling:
Reduces spatial dimensions to focus on important features

## Slide 9: Activation Functions
08
Fast convergence & Prevents vanishing gradient
Probability distribution for binary classification
ReLU
SoftMax

## Slide 10: Hyperparameter Tuning
09
Epochs
Dropout Rates
Learning Rate
Batch Size
32 | 64
5e-4 | 5e-5 | 5e-6
0.3 - 0.5
50 - 150

## Slide 11: Training & Validation Strategy
10
Validation Data
6
Dropout
Data Augmentation
1
3
Learning Rate
Normalization
4
Batch Size
To artificially increase the diversity of the training dataset.
Defines the number of samples processed before the model weights are updated.
Controls the step size in the weight update during training.
Scaling pixel values to a [0, 1] range
Prevents overfitting by randomly deactivating neurons during training.
Provides an unbiased evaluation of the model during training.
2
5

## Slide 12: Results – Run Comparision
Run # | Batch Size | Epochs | Learning Rate | Dropout | Augmentation | Test Accuracy | Precision | Recall | F1 Score
1 | 32 | 70 | 5e-5 | 0.3 | No | 0.8318 | 0.8175 | 0.8803 | 0.8477
2 | 32 | 50 | 5e-4 | 0.3 | No | 0.8682 | 0.8438 | 0.9231 | 0.8816
3 | 64 | 150 | 5e-5 | 0.5 | No | 0.8909 | 0.8550 | 0.9573 | 0.9032
4 | 64 | 100 | 5e-6 | 0.5 | Yes | 0.9091 | 0.9619 | 0.8632 | 0.9099
5 | 64 | 150 | 5e-6 | 0.5 | Yes | 0.9227 | 0.9808 | 0.8718 | 0.9231
6 | 64 | 150 | 5e-5 | 0.5 | Yes | 0.9364 | 0.9256 | 0.9573 | 0.9412
7 | 64 | 150 | 5e-6 | 0.45 | Yes | 0.9545 | 0.9652 | 0.9487 | 0.9569
11

## Slide 13: Results – Loss Comparision
Run # | Batch Size | Epochs | Learning Rate | Dropout | Augmentation | Loss
1 | 32 | 70 | 5e-5 | 0.3 | No | 0.4860
2 | 33 | 50 | 5e-4 | 0.3 | No | 0.6690
3 | 64 | 150 | 5e-5 | 0.5 | No | 0.5199
4 | 64 | 100 | 5e-6 | 0.5 | Yes | 0.3345
5 | 64 | 150 | 5e-6 | 0.5 | Yes | 0.2923
6 | 64 | 150 | 5e-5 | 0.5 | Yes | 0.2504
7 | 64 | 150 | 5e-6 | 0.45 | Yes | 0.1964
12

## Slide 14: Results - Confusion Matrix & Error Analysis
13
From 37 to 10 misclassifications out of 220 test samples
FP = 4 & FN = 6
balanced performance for both classes (not bias toward one label)

## Slide 15: Milestones
IPF Reaserch
Dataset Balancing
Dim → jpg &
RGB → Grayscale
Python Adoption
Colab Pro+
Training Model integration
Hyperparameter Tuning for best results
14

## Slide 16: Limitation & Challenges
Data Quality Issues and Dataset size
Small dataset size requires extensive data augmentation
Class imbalance can lead to biased models
Hardware Limitations (Colab Memory)
High memory usage during training
Considered premium Colab subscription for extended sessions
Model Selection
Started with DenseNet121, a deep CNN known for efficient feature reuse and strong gradient flow, which Is better suited for large, diverse datasets and required more computational resources
Switched to a custom CNN for faster training and better performance on smaller, grayscale medical datasets, focused on reducing overfitting with dropout layers and data augmentation
Balancing Precision and Recall
Tuning learning rate, batch size, dropout rate and epochs
Regularly checked the confusion matrix for imbalance
15

## Slide 17: Insert Video
16

## Slide 18: Thanks!
Do you have any questions?
Asaf.Schneiderman@e.braude.ac.il
Alex.Baboshin@e.braude.ac.il
17